Functional Document

1. Introduction

The TB and Lung Disease Diagnostic System is an advanced medical imaging solution designed to address the global crisis of respiratory diseases. Pulmonary conditions such as Tuberculosis (TB), Pneumonia, and COVID-19 continue to be leading causes of morbidity worldwide, often exacerbated by a shortage of specialized radiologists in high-burden regions. This project introduces an automated diagnostic pipeline that utilizes state-of-the-art Deep Learning to analyze Chest X-ray (CXR) images. By providing a high-accuracy classification engine, the system serves as a critical decision-support tool, enabling healthcare providers to triage patients more efficiently and initiate life-saving treatments with greater speed and confidence.

2. Product Goal

The primary objective of this project is the development and deployment of a Hybrid Deep Learning Model that achieves clinical-grade diagnostic accuracy. Specifically, the goal is to:

- Successfully classify Chest X-rays into four distinct categories: COVID-19, Normal, Pneumonia, and Tuberculosis.

- Leverage a dual-backbone architecture—combining EfficientNetB3 for scalable feature extraction and DenseNet121 for dense connectivity—to ensure the model captures both global structural anomalies and local radiographic textures.

- Maintain a benchmark test accuracy of at least 95.5%, with a specific focus on high recall for Tuberculosis to minimize the risk of false negatives in critical diagnostic scenarios.

3. Demography (Users, Location)

- Target Users:

  - Radiologists and Pulmonologists: Primary users who require a high-precision tool to validate their findings or to prioritize a massive influx of scans.

  - General Practitioners (GPs) in Remote Clinics: Users with limited specialized training in radiology who need an automated "second opinion" to assist in initial patient screening.

  - Laboratory Technicians: Individuals responsible for the initial ingestion of patient data and X-ray imaging into the clinical system.

- Location:

  - Primary Focus: Public health institutions and private diagnostic centers in regions with high TB prevalence (e.g., Southeast Asia, Sub-Saharan Africa).

  - Secondary Focus: Emergency departments in urban hospitals requiring rapid screening for COVID-19 or viral pneumonia.

4. Business Processes

The system operates through a structured diagnostic workflow designed for integration into clinical environments:

- Image Acquisition: High-resolution digital X-ray images are uploaded to the system via a secure portal.

- Automated Preprocessing: The system automatically standardizes the input by resizing images to 224x224 pixels and normalizing pixel values between 0 and 1, ensuring compatibility with the neural network's input requirements.

- Hybrid Feature Extraction: The image is simultaneously processed through two separate neural pathways (EfficientNet and DenseNet). The resulting feature embeddings are concatenated into a single, comprehensive representation of the patient's lung health.

- Classification & Confidence Scoring: The fused features pass through a dense classifier head. The system calculates a probability distribution across the four classes using a Softmax activation function.

- Diagnostic Reporting: The system renders a final result, highlighting the predicted class and the model's confidence level, which is then reviewed by a medical professional.

5. Features & User Stories

Feature #1: Hybrid Fusion Classification Engine

- Description: An integrated classification system that merges the feature-learning capabilities of EfficientNetB3 and DenseNet121. This hybrid approach is specifically designed to handle the visual similarities between TB and Pneumonia.

- User Story 1: As a radiologist, I want the system to analyze my patient's X-ray using multiple AI architectures simultaneously so that I can receive a more robust and reliable diagnostic suggestion than a single-model system would provide.

Feature #2: Automated Diagnostic Triage

- Description: A real-time analysis tool that flags high-risk images (COVID-19 or TB) immediately upon upload.

- User Story 2: As a triage nurse in a busy clinic, I want the system to automatically flag images that show high probability for contagious diseases like COVID-19 so that I can isolate these patients and prioritize their files for immediate doctor review.

Feature #3: Detailed Prediction Probabilities

- Description: Instead of a simple "Pass/Fail" result, the system provides the exact confidence percentage for each of the four possible conditions.

- User Story 3: As a general practitioner, I want to see the confidence scores for all categories so that if the model is only 51% sure between TB and Pneumonia, I know I must order a sputum test for definitive verification.

Feature #4: Latent Space & t-SNE Analysis

- Description: A research-oriented feature that visualizes how the model "sees" the data, plotting image features in a 2D space to show clear separation between healthy and diseased lungs.

- User Story 4: As a medical researcher, I want to see a t-SNE visualization of our patient population’s X-rays so that I can identify trends in how different strains of viral pneumonia cluster compared to traditional TB cases.

Feature #5: Performance-Optimized Training Logic

- Description: The training pipeline uses AdamW optimization and Class Weights to ensure that less frequent but highly dangerous diseases like TB are given equal diagnostic weight during the model's learning phase.

- User Story 5: As a data scientist, I want the training process to account for class imbalance so that the final model doesn't become biased toward "Normal" results simply because there are more healthy patients in the dataset.

6. Authorization Matrix

| Role | Access Level | Permissions |
| --- | --- | --- |
| Guest/Viewer | Restricted | Can only view general system statistics and public health trends. |
| Lab Technician | Intermediate | Can upload X-ray images, perform preprocessing, and manage patient IDs. |
| Specialist (Doctor) | Advanced | Can view full diagnostic results, confidence scores, and sign off on reports. |
| Data Scientist/Researcher | Technical | Can access t-SNE plots, performance metrics, and retrain the model. |
| System Admin | Full | Can manage user accounts, hardware resources, and data security protocols. |

7. Assumptions

- Image Quality: It is assumed that input X-rays are of standard diagnostic quality and follow the Posterior-Anterior (PA) view format.

- Infrastructure: The system assumes access to a cloud or local environment with GPU acceleration (e.g., NVIDIA T4 or better) to maintain an inference time of less than 200ms per image.

- Data Security: All shared data is assumed to be anonymized in compliance with medical data privacy standards (e.g., HIPAA or GDPR) before being processed by the AI.

- Deployment: The model will be used as a "Human-in-the-loop" system where the final clinical decision always rests with a qualified medical professional.